Sure Klean® Strippable Masking Specification

Specifier Note: The information provided below is intended to guide the Architect in developing specifications for products manufactured by PROSOCO, Inc. and should not be viewed as a complete source of information about the product(s). The Architect should always refer to the Product Data Sheet and MSDS for additional recommendations and for safety information

Specifier Note: Paragraph below is for PART 1 GENERAL, Quality Assurance.

# Test Area

Test a minimum 4 ft. by 4 ft. area on each type of masonry. Use the manufacturer’s application instructions. Let the test panel dry 3 to 7 days before inspection. Keep test panels available for comparison throughout the cleaning project.

Specifier Note: Paragraphs below are for PART 2 PRODUCTS, Manufacturers and Products.

# Manufacturer

PROSOCO, Inc., 3741 Greenway Circle, Lawrence, KS 66046. Phone: (800) 255-4255; Fax: (785) 830-9797. E-mail: CustomerCare@prosoco.com

# Product Description

Sure Klean® Strippable Masking is a white temporary coating material for protecting glass, unpainted metal, and polished stone from masonry cleaners being used nearby. It is an easily applied liquid that dries to form a temporary coating, protecting surfaces from contact with masonry cleaning solutions. After cleaning is complete, Strippable Masking is easily removed.

# Typical Technical Data

FORM: white, creamy liquid

SPECIFIC GRAVITY: 1.04

pH: 9.9

WEIGHT/GALLON: 8.65 pounds

ACTIVE CONTENT: 30 percent

TOTAL SOLIDS: 30 percent; ASTM D2369

FLASH POINT: 444 degrees F (229 degrees C) ASTM D 3278

FREEZE POINT: 32 degrees F (0 degrees C)

VOC CONTENT: less than 50 grams per Lite

Specifier Note: Paragraphs below are for PART 3 EXECUTION, Installation.

# Application

Before applying, read “Preparation” and “Safety Information” sections in the Manufacturer’s Product Data Sheet for EK Select. Apply as packaged. Do not dilute or alter. Mix well before use.

1. Apply two coats until surfaces are opaque and uniformly white, with no dark areas. There should be no pinholes or gaps that allow corrosive materials behind the film.
2. Let treated surfaces dry to the touch before beginning cleaning activities. Typical drying time is one hour and varies with temperatures.

SPECIFIER NOTE: Avoid direct contact with high-pressure rinsing equipment until cleaning operations are complete.

**REMOVAL**

Removal is more difficult when Strippable Masking is left on the surface longer than specified. Dry brushing with agitation or high-pressure rinsing may facilitate removal.

* When removing from metal surfaces, start at a corner and peel off. Properly applied coatings come off in large sections.
* When used outdoors or indoors and exposed to sunlight, remove the film within 3 weeks of application.
* When used indoors and not exposed to sunlight, remove the film within 8 weeks.

**Cleanup**

Clean equipment with soap and water.